Министерство образования и науки Российской Федерации

федеральное государственное автономное образовательное учреждение

высшего образования

«Национальный исследовательский ядерный университет «МИФИ»

Красноярский промышленный колледж (КПК НИЯУ МИФИ)

УТВЕРЖДАЮ:

Заместитель директора по УР

КПК НИЯУ МИФИ

_____________    Т.С. Ермакова

«        »                         20 ___  г.

«ЭЛЕКТРИЧЕСКАЯ БЕЗОПАСНОСТЬ»

«ELECTRICAL SAFETY»

ЗАДАНИЯ ПО САМОСТОЯТЕЛЬНОЙ РАБОТЕ СТУДЕНТОВ

(С ОТВЕТАМИ)

(32 часа)

УЧЕБНОЙ ДИСЦИПЛИНЫ

ОГСЭ.03 ИНОСТРАННЫЙ ЯЗЫК (АНГЛИЙСКИЙ)

2018

Задания по самостоятельной работе студентов (с ответами) учебной дисциплины ОГСЭ.03 Иностранный язык (английский) разработаны на основе Федерального государственного образовательного стандарта (далее – ФГОС) по программе подготовки специалистов среднего звена в соответствии с ФГОС специальности среднего профессионального образования (далее – СПО)

08.02.09 «Монтаж, наладка и эксплуатация электрооборудования промышленных и

гражданских зданий» (по отраслям)

Задания по самостоятельной работе студентов (с ответами) содержат общие и единые требования к выполнению и оформлению лабораторных работ и практических занятий.

Организация-разработчик:

Красноярский промышленный колледж – филиал Федерального государственного автономного образовательного учреждения высшего образования

«Национальный исследовательский ядерный университет «МИФИ» (КПК НИЯУ МИФИ)

Разработчик:

Г.Р. Прус, преподаватель

Рассмотрены Цикловой методической комиссией общественно-гуманитарных дисциплин,

протокол №  ____   от  « ____»  _______  20_____  г.

Рекомендованы Учебно-методическим советом колледжа,

протокол №  _____  от «____  » ________   20 ____  г.

| «LIST OF UNITS» - «СПИСОК РАЗДЕЛОВ» | «TABLE OF CONTENTS» - «СОДЕРЖАНИЕ» | «PAGES» – «СТР.» |
| --- | --- | --- |
| СОДЕРЖАНИЕ | «tasks to «ELECTRICIAN» («book 2») - «задания к книге «ЭЛЕКТРИК» («книга 2») | 3 |
| ПОЯСНИТЕЛЬНАЯ ЗАПИСКА |  | 3-5 |
| «СПИСОК ЛИТЕРАТУРЫ» | «BIBLIOGRAPHY» | 5 |
| 15 РАЗДЕЛОВ | 15 UNITS: | 6-13 |
| «UNIT 1» - «ЭЛЕКТРИЧЕСКИЕ СОЕДИНИТЕЛИ» | «ELECTRICAL CONNECTORS» |  |
| «UNIT 2» - «СИСТЕМЫ КАБЕЛЬЕЫХ КАНАЛОВ» | «CONDUIT SYSTEMS» |  |
| «UNIT 3» - «ПОДЗЕМНЫЕ И ВОЗДУШНЫЕ ВХОДЫ ОБСЛУЖИВАНИЯ» | «BURIED AND AERIAL SERVICE ENTRANCES» |  |
| «UNIT 4» - «ПАНЕЛИ» | «PANELS» |  |
| «UNIT 5» - «СУБПАНЕЛИ» | «SUBPANELS» |  |
| «UNIT 6» - «ПРОБКИ И ВЫКЛЮЧАТЕЛИ ЦЕПИ» | «FUSES AND CIRCUIT BREAKERS» |  |
| «UNIT 7» - «УРАВНОВЕШИВАНИЕ НАГРУЗКИ» | «BALANCING THE LOAD» |  |
| «UNIT 8» - «КОРОБКИ ШТЕПСЕЛЬНОЙ РОЗЕТКИ» | «RECEPTACLE BOXES» |  |
| «UNIT 9» - «ШТЕПСЕЛЬНЫЕ РОЗЕТКИ» | «RECEPTACLES» |  |
| «UNIT 10» -«РАСПРЕДЕЛИТЕЛЬНЫЕ КОРОБКИ» | «SWITCH BOXES» |  |
| «UNIT 11» - «ТИПЫ ПЕРЕКЛЮЧАТЕЛЕЙ" | «TYPES OF SWITCHES» |  |
| «UNIT 12» - «СИСТЕМЫ ЗАЗЕМЛЕНИЯ» | «GROUNDING SYSTEMS» |  |
| «UNIT 13» - «УСТАНОВКА СИСТЕМЫ ЗАЗЕМЛЕНИЯ» | «INSTALLING A GROUNDING SYSTEM» |  |
| «UNIT 14» - «ЭЛЕКТРИЧЕСКИЕ ПОЖАРЫ» | «ELECTRICAL FIRES» |  |
| «UNIT 15» - «ЭЛЕКТРИЧЕСКАЯ БЕЗОПАСНОСТЬ ДОМА» | «ELECTRICAL SAFETY AT HOME» |  |
| «ОТВЕТЫ» | «ANSWERS» | 13-17 |

ПОЯСНИТЕЛЬНАЯ ЗАПИСКА

«Задания по самостоятельной работе студентов (с ответами)» соответствуют программе преподавания учебной дисциплины ОГСЭ.03 «Иностранный язык (английский)» и календарно – тематическим планам. Необходимость разработки данных заданий обусловлена специальностью групп, уровнем обучения иностранному языку, основной литературой и учебными пособиями. Задания составлены в соответствии с упражнениями основной литературы, но с учётом профессиональной лексики и специфики данной специальности. Задания способствуют закреплению лексики и грамматики каждого семестра, со второго по четвёртый курс - включительно. Задания разработаны с целью повторения всех грамматических тем английского языка, предусмотренных программой для изучения и повторения на аудиторных занятиях и направлены на расширение активного и пассивного словарного запаса студентов посредством профессиональной терминологии и грамматических структур. При подготовке моделей для различных заданий мною использовался также и раздел «Glossary» - «Глоссарий» «Book 2» - «Книги 2» учебного пособия «Electrician». Аудирование таких заданий направлено как на развитие навыков произношения профессиональной лексики, так и на формирование стратегий речевого поведения в англоязычной среде.

Студентам интересна информация курса «Стратегии речевого поведения в англоязычной среде» Ю.Б. Кузьменковой, потому что полноценное общение людей разных национальностей всегда зависит от понимания культурного наследия каждого народа. Основные положения данного курса объясняют разные точки зрения на сам процесс общения русских, англичан и американцев. Далее привожу некоторые положения этого курса, которые следует учитывать при ведении диалога.

Естественность, являющаяся доминантой русскоязычного общения, определяет такие его черты, как однозначность, прямолинейность и эмоциональность. Англоязычное общение отражает прагматические установки индивидуалиста, опирающегося на принцип невмешательства: «Mind your own business» - «Занимайтесь своим собственным делом»! Британцам и американцам свойственно стремление удерживать разговор в заранее предусмотренных границах, контролируемых с позиций рассудочности. Для эффективного контакта с англоговорящими собеседниками россиянину следует руководствоваться коммуникативными правилами, которые можно сформулировать следующим образом:

1. Соблюдайте регламент, меру и пропорцию.

2. Соблюдайте дистанцию, держите собеседника на расстоянии.

Из материалов учебного пособия по английскому языку «Electrician» таким правилам соответствуют так называемые «If-phrases» - фразы, начинающиеся со слова «Если», которые снижают категоричность высказываний.  В конструкциях с «if» используются модальные глаголы для выражения вежливого вопроса, предложения, совета, приказа.

- If the capacity is too low, however, you risk overcurrent, which can lead to fire or electric shock.

Роль «знаков внимания» выполняют разделительные вопросы, «хвостики» которых при всём разнообразии сочетаний вспомогательных глаголов в утвердительной или отрицательной форме с личными местоимениями, всегда переводятся как: «Не так ли»? = «Не правда ли»? Успешное выполнение студентами заданий подобного рода во многом зависит от того, сколько времени преподаватель уделяет систематическому повторению со студентами вспомогательных глаголов для каждого английского времени. Конечные формативы разделительных вопросов в процессе общения с собеседником выражают заинтересованность в беседе. Отрицательные «tags» - «хвостики» в ответе на утвердительные предложения подчёркивают согласие собеседника. Особое внимание требуется при составлении разделительных вопросов типа:

-  When installing a grounding system, keep the basic components in mind, will you?

- When installing a grounding system, keep the basic components in mind, can you? – это звучит более дружески.

- When installing a grounding system, keep the basic components in mind, would you? – так вопрос звучит более вежливо.

- Let’s begin in the boiler room, shall we? – как приглашение.

Перевод с русского на английский показывает уровень усвоения лексических единиц по каждой теме и подчиняется грамматическим правилам, как русского, так и английского языков. В английском языке – строгий порядок слов, а в русском – свободный. Кроме того, в английском предложении всегда должен быть глагол, а в русском предложении глагол часто отсутствует. Разные грамматические нормы двух языков делают перевод с русского языка на английский как самым трудным, так и наиболее интересным видом упражнений. В качестве предложений для перевода с русского языка на английский я включила примеры в настоящем простом (неопределённом) времени - The Present Simple (Indefinite) Tense как в действительном, так и в страдательном залоге. Это объясняется тем, что в будущей профессиональной деятельности студентам предстоит работать со справочной литературой, - читать и составлять, руководства для сотрудников компании. Настоящее простое (неопределённое) время – The Present Simple Tense используется во всех справочниках и руководствах. Студенты, занимающиеся по учебному пособию «Electrician», легко находят соответствующие английские предложения при чтении текстов и выполнении заданий к ним. Сложность заключается в том, что студентам следует списывать предложения на английском языке с учётом формулировки предложений на русском. Это значит, что какие-то слова и выражения английских предложений учебного пособия «Electrician» в предложения задания «Переведите на английский язык» не войдут.

В своей работе я использую раздаточный материал, позволяющий быстро и эффективно проверять допущенные каждым студентом ошибки. Представленные на рассмотрение студентов раздаточные материалы демонстрируют также и допущенные ими орфографические ошибки. Кроме того, выданные на дом в качестве домашнего задания, данные упражнения могут быть использованы для других видов работы. Это может быть: заучивание наизусть, перевод с английского на русский, построение вопросительных предложений разного типа, изменение предложений в активном (действительном) залоге на предложения в пассивном (страдательном) залоге и  наоборот. Творческий подход подразумевает разработку собственных аналогичных заданий, что способствует закреплению материала на уровне понимания. Сборник ответов предоставляется студентам для возможности проведения ими самостоятельного сравнительного анализа правильного ответа с собственным результатом.

«BIBLIOGRAPHY» - «СПИСОК ЛИТЕРАТУРЫ»

1). Английский язык /А.С. Восковская, Т.А. Карпова. – Изд. 12-е, стер. –

Ростов н/Д: Феникс, 2013. – 376, [1] с. – (Среднее профессиональное образование)

ISBN 978-5-222-20067-4

2). Английский язык /Агабекян И.П. – Изд. 26-е, стер.

Ростов н/Д: Феникс, 2015. – 318, [1] с.  (Среднее профессиональное образование)

ISBN 978-5-222-23595-9

Интернет-ресурсы

1. Virginia Evans, Jenny Dooley, Tres O’Dell Career Paths «ELECTRICIAN»

©Express Publishing, 2012 [Электронный ресурс] – Режим доступа:

http://www.expresspublishing.co.uk

ISBN 978-1-4715-0524-9

2. Virginia Evans, Jenny Dooley, Tres O’Dell Career Paths «TEACHER’S BOOK»

©Express Publishing, 2012 [Электронный ресурс] – Режим доступа:

http://www.expresspublishing.co.uk

ISBN 978-1-4715-0525-6

3. Кузьменкова Ю.Б. Стратегии речевого поведения в англоязычной среде: курс лекций.

М.: Педагогический университет «Первое сентября», 2006. URL: edu.1september.ru

«TASKS TO BOOK 2» - «ЗАДАНИЯ К КНИГЕ 2»

«UNITS 1-5» - «РАЗДЕЛЫ 1-5»

I).

«MATCH THE WORDS (1-10) WITH THEIR DEFINITIONS (A-J)» -

«СОПОСТАВЬТЕ СЛОВА (1-10) С ИХ ОПРЕДЕЛЕНИЯМИ (A-J)»

| 1. A post connector | A. is the same as a ring terminal except that the metal part doesn’t make a full ring. |
| --- | --- |
| 2. A blade connector | B. is used to connect individual electrical wires. |
| 3. A ring terminal | C. is a connector used to attach a single wire to a piece of equipment. |
| 4. A spade terminal | D. has one plug with prongs that is inserted into the openings of a receptor plug. |
| 5. A solderless connector | E. is the act of fitting an electrical appliance for use. |
| 6. A terminal block connector | F. is a set of rules used for the structural safety of buildings. |
| 7. A plug and socket connector | G. is the specified course that a conduit goes along. |
| 8. A building code | H. connects wires by using mechanical pressure instead of solder. |
| 9. An installation | I. is a single wire connection in which a screw or bolt is inserted to make electrical contact. |
| 10. A route | J. is a single wire connection in which a blade is inserted into the blade’s holder. |

II).

«PUT A QUESTION TAG ON THE END OF THESE SENTENCES» -

«ПРОДОЛЖИТЕ «ХВОСТИКИ» РАЗДЕЛИТЕЛЬНЫХ ВОПРОСОВ»

1. We have many connectors to serve your needs, ... ...?

2. I am a highly qualified electrician, ... ...?

3. I will give recommendations based on your needs, ... ...?

4. Buried service entrances are preferred by some customers, ... ...?

5. Utility poles are not necessary, ... ...?

6. Installing aerial services does not damage landscaping, ... ...?

7. You should understand electrical safety functions, ... ...?

8. The subpanel needs the same basic components as a main panel, ... ...?

9. The subpanel is wired a little differently, ... ...?

10. To avoid malfunctions, the hot conductor must be continuous, ... ...?

III).

«MAKE UP SPECIAL QUESTIONS THE ANSWERS TO WHICH WILL BE WORDS IN ITALICS. THE WORDS IN BRACKETS WILL HELP YOU» – «СОСТАВЬТЕ СПЕЦИАЛЬНЫЕ ВОПРОСЫ, ОТВЕТАМИ НА КОТОРЫЕ БУДУТ ВЫДЕЛЕННЫЕ КУРСИВОМ СЛОВА. СЛОВА В СКОБКАХ ПОМОГУТ ВАМ»

1. Insulation displacement connectors are available if you don’t want to strip wires. (When)

2. For connecting larger size wire, we have split bolt connectors. (What)

3. I have the know-how to do any type of job. (What)

4. I have the know-how to do any type of job. (What)

5. For homes with complicated building codes, I can use grounded connectors. (What)

6. For homes with complicated building codes, I can use grounded connectors. (What)

7. Moisture tight fittings are especially made to keep water out. (Why)

8. Aerial service entrances require a drip loop for incoming wires. (What)

9. A utility transformer and a service lateral are required for buried service. (What)

10. Today’s increased use of high-powered appliances and gadgets means you can’t risk

installing a substandard electrical system. (What)

IV).

«MAKE UP GENERAL GUESTIONS AND ANSWER THEM ACCORDING TO THE MODEL» - «СОСТАВЬТЕ ОБЩИЕ ВОПРОСЫ И ОТВЕТЬТЕ НА НИХ

В СООТВЕТСТВИИ С ОБРАЗЦОМ»

a) Model:  We carry post connectors, blade connectors, ring terminals, and spade terminals.

Do we carry post connectors, blade connectors, ring terminals, and spade terminals?

- Yes, we do.

1. You need to connect wires to other wires. 2. We have terminal block connectors, plug and socket connectors, and clamp connectors. 3. We have some other items for more specific types of connectors. 4. Many of my conduits have protection against corrosion, fire, or water issues. 5. I also have a variety of non-corrosive conduits.

b) Model:  An electrician’s training prepares him /her to know which connectors work the best.

Does an electrician’s training prepare him /her to know which connectors work the

best? - Yes, it does.

1. Electrical metallic tubing works well most of the time. 2. The building has some exposure to moisture and possibly some chemicals. 3. A buried service entrance means service cables are underground. 4. A buried service goes under the ground. 5. It costs more to install a buried service because more work is required.

V).

«MIND THE WORD ORDER» - «ОБРАТИТЕ ВНИМАНИЕ НА ПОРЯДОК СЛОВ»

a)

«EXTEND THE FOLLOWING SENTENCES WITH THE WORDS GIVEN IN BRACKETS» - «РАСШИРЬТЕ СЛЕДУЮЩИЕ ПРЕДЛОЖЕНИЯ СЛОВАМИ, ДАННЫМИ В СКОБКАХ»

1. I would prefer the buried service entrance (cables, because, its, hidden, are, underground, though, it, even, more, costs, the, than, entrance, aerial, service). 2. (With, for, demands, higher, electricity), electricians must be ready to install higher-capacity systems. 3. A subpanel is often useful (when, a, there, remote, is, set, apart, structure, the, from, main, building). 4. Having a subpanel for these structures is advisable (as, it, better, owners, gives, over, how, control, is, distributed, electricity). 5. Additionally, it is important to remember that a subpanel does not have its own electrical capacity, (but, main, the, shares, rather, electricity, its, with, panel).

b)

«WRITE THE WORDS IN THE FOLLOWING SENTENCES IN ORDER, THE FIRST WORD IN EACH SENTENCE IS IN ITALICS» - «НАПИШИТЕ СЛОВА В СЛЕДУЮЩИХ ПРЕДЛОЖЕНИЯХ ПО ПОРЯДКУ, ПЕРВОЕ СЛОВО В КАЖДОМ ПРЕДЛОЖЕНИИ ДАНО КУРСИВОМ»

1. Electrical, wires, they, easily, and, are, sturdy, not, can, be, damaged. 2. External, water, forces, fire, as, such, and, exposure, chemical, to, wires, can, harmful, be. 3. Conduits, to, protect, provide, barrier, a, wires, from, hazards, these. 4. Different, conduits, of, types, different, serve, purposes. 5. Areas, electrical, to, to, moisture, moisture, require, prone, fittings, tight, away, from, water, keep, wires.

VI).

«TRANSLATE INTO ENGLISH» – «ПЕРЕВЕДИТЕ НА АНГЛИЙСКИЙ ЯЗЫК»

1. Вы хотите подключить провода к оборудованию? 2. У нас есть много соединителей для удовлетворения ваших потребностей. 3. Я - высококвалифицированный электрик. 4. Я дам рекомендации, основанные на ваших потребностях. 5. Если Вы будете недовольны моей работой, я верну Вам деньги! 6. Электрики должны быть готовы к установке более мощных систем. 7. При выборе электрических компонентов, детали с большой ёмкостью почти всегда лучше. 8. Если Вы можете установить цепь с более высокой силой тока, - тогда продолжайте. 9. Наличие более высокой ёмкости, чем Вам нужно, не представляет опасности. 10. Если, однако, ёмкость слишком низкая, - Вы рискуете получить перегрузку по току, что может привести к возгоранию или поражению электрическим током.

11. Электрические провода - не крепкие, и их легко повредить. 12. Внешние силы, такие как вода, огонь и химическое воздействие, могут быть опасными для проводов. 13. Трубопроводы обеспечивают барьер для защиты проводов от этих опасностей. 14. Различные типы трубопроводов служат различным целям. 15. Районам, подверженным воздействию влаги, требуется арматура, обеспечивающая удержание воды вдали от электрических проводов.

«UNITS 6-10» - «РАЗДЕЛЫ 6-10»

I).

«MATCH THE WORDS (1-10) WITH THEIR DEFINITIONS (A-J)» -

«СОПОСТАВЬТЕ СЛОВА (1-10) С ИХ ОПРЕДЕЛЕНИЯМИ (A-J)»

| 1. Overload | A. is a device with a small metal strip that melts and stops electrical flow when an excessive current passes through it. |
| --- | --- |
| 2. A ground fault | B. is a fuse with a threaded end that screws into a socket. |
| 3. A fuse | C. is when a broken thing is changed for a new one. |
| 4. A cartridge fuse | D. is to trigger or release a switch to set something into operative mode. |
| 5. A plug fuse | E. is an electrical malfunction in which a current gets into a ground conductor and often causes a short circuit. |
| 6. A blown fuse | F. is a circuit breaker that is connected to two hot bus bars and supplies 240-volt power to a circuit. |
| 7. A replacement | G. occurs when an electrical current is too high for a particular electrical system |
| 8. To trip | H. is a fuse encased in a cylinder with metal caps on each end. |
| 9. A single pole breaker | I. is a fuse in which the metal strip has melted to stop the flow of electricity. It can’t be reused and must be replaced to restore the current. |
| 10. A double pole breaker | J. is a circuit breaker that is connected to one hot bus bar and supplies 120- volt power to a circuit. |

II).

«PUT A QUESTION TAG ON THE END OF THESE SENTENCES» -

«ПРОДОЛЖИТЕ «ХВОСТИКИ» РАЗДЕЛИТЕЛЬНЫХ ВОПРОСОВ»

1. Electrical overload can result from various factors, ... ...?

2. Broken or worn out breakers occasionally require replacement, ... ...?

3. To maintain stability, you must balance your electrical load, ... ...?

4. First, you should analyze your electrical consumption, ... ...?

5. You may need a screwdriver to remove the breakers, ... ...?

6. Receptacle boxes are containers that hold electric wire connectors, ... ...?

7. Some electricians use handy boxes for temporary installations, ... …?

8. The box needs to have the right volume to be safe, ... ...?

9. A shallow box can overcrowd the wires, ... ...?

10. The problem was likely caused by a short circuit, ... ...?

III).

«MAKE UP SPECIAL QUESTIONS THE ANSWERS TO WHICH WILL BE WORDS IN ITALICS. THE WORDS IN BRACKETS WILL HELP YOU» – «СОСТАВЬТЕ СПЕЦИАЛЬНЫЕ ВОПРОСЫ, ОТВЕТАМИ НА КОТОРЫЕ БУДУТ ВЫДЕЛЕННЫЕ КУРСИВОМ СЛОВА. СЛОВА В СКОБКАХ ПОМОГУТ ВАМ»

1. Handy boxes are unreliable for long-term usage. (What)

2. Handy boxes are unreliable for long-term usage. (What)

3. The box needs to have the right volume to be safe. (What)

4. The box needs to have the right volume to be safe. (What)

5. The box needs to be deep enough to comfortably hold all the wires. (How)

6. The box needs to be deep enough to comfortably hold all the wires. (What)

7. The plug has a grounding pin. (What)

8. The plug has a grounding pin. (What)

9. The plug has a grounding pin. (What)

10. We recommend using plastic boxes to reduce the risk of electrical malfunction. (Why)

IV).

«MAKE UP GENERAL GUESTIONS AND ANSWER THEM ACCORDING TO THE MODEL» - «СОСТАВЬТЕ ОБЩИЕ ВОПРОСЫ И ОТВЕТЬТЕ НА НИХ

В СООТВЕТСТВИИ С ОБРАЗЦОМ»

a) Model:  Electrical overload can result from various factors.

Can electrical overload result from various factors? – Yes, it can.

1. Installing your own electrical system can be tricky. 2. A shallow box can overcrowd the wires. 3. Overcrowded wires can easily short out. 4. Using an improper or damaged outlet can be very dangerous. 5. Single gang boxes can be easily installed in narrow frames beside doors.

b) Model:  To maintain stability, you must balance your electrical load.

Must you balance your electrical load to maintain stability? – Yes, you must.

1. To achieve parity, you must transfer some of the load to the corresponding breaker on the lower side. 2. For example, an outside box must be waterproof. 3. An electrician must always check this when mounting a box outside. 4. An electrician must first add up the amperage of the appliances on each side of the panel. 5. The grounding pin must be connected directly to a grounding slot.

V).

«MIND THE WORD ORDER» - «ОБРАТИТЕ ВНИМАНИЕ НА ПОРЯДОК СЛОВ»

a)

«EXTEND THE FOLLOWING SENTENCES WITH THE WORDS GIVEN IN BRACKETS» - «РАСШИРЬТЕ СЛЕДУЮЩИЕ ПРЕДЛОЖЕНИЯ СЛОВАМИ, ДАННЫМИ В СКОБКАХ»

1. (a, for, one, with, typical, room, light), a single gang box will do. 2. This is the easiest box (to, in, a, a, beside, narrow, door, space, install). 3. (to, from, the, two, control, same, place, switches), use a two-gang box. 4. A room (a, a, and, with, ceiling, light, fan) might require two switches. 5. For more switches, (gang, gang, three, four, and, are, boxes, boxes, available).

b)

«WRITE THE WORDS IN THE FOLLOWING SENTENCES IN ORDER, THE FIRST WORD IN EACH SENTENCE IS IN ITALICS» - «НАПИШИТЕ СЛОВА В СЛЕДУЮЩИХ ПРЕДЛОЖЕНИЯХ ПО ПОРЯДКУ, ПЕРВОЕ СЛОВО В КАЖДОМ ПРЕДЛОЖЕНИИ ДАНО КУРСИВОМ»

1. But, sure, enough, for, before, make, have, you, larger, room, installations, boxes, attempting. 2. Larger, brackets, boxes, also, are, additional, to, they, securely, require, may, ensure, mounted. 3. Your, flush, box, coverplate, wall, that, the, the, should, is, with, positioned, be, so. 4. If, this, a, the, not, is, use, to, seal, cavity, wall, extender, box, possible. 5. This, prevents, materials, from, in, the, with, measure, electricity, contact, flammable, coming, safety.

VI).

«TRANSLATE INTO ENGLISH» – «ПЕРЕВЕДИТЕ НА АНГЛИЙСКИЙ ЯЗЫК»

1. Электрическая перегрузка может быть вызвана различными факторами, такими как короткое замыкание от замыкания на землю. 2. Ваши пробки или выключатели цепи защищают Вашу систему от этих чрезмерных токов. 3. Если Ваша пробка заключена в трубу с металлическими торцевыми крышками, - выбирайте наши трубчатые предохранители. 4. Если Вы можете вывинтить пробку из её гнезда, - Вам нужен плавкий предохранитель. 5. Все перегоревшие пробки должны быть заменены, так как они не могут быть повторно использованы. 6. В отличие от пробок, автоматические выключатели цепи не нуждаются в замене каждый раз, когда они выключаются. 7. Но изломанные или изношенные выключатели иногда требуют замены. 8. Установка Вашей собственной электрической системы может быть сложной. 9. В то время как выключатели цепи останавливают перегрузку от повреждения Вашей системы, лучше всего избежать перегрузки в первую очередь. 10. Чтобы обеспечить стабильность, Вы должны сбалансировать свою электрическую нагрузку. 11. Это предотвратит попадание слишком большого количества электричества в одну цепь за один раз. 12. Во-первых, Вы должны проанализировать Ваше потребление электроэнергии. 13. Вы используете больше электроэнергии на одной стороне Вашей основной панели, чем на другой? 14. Чтобы проверить это, подсчитайте, сколько энергии проводит каждая сторона. 15. Если сила тока одной стороны больше на десять процентов, чем у другой стороны, - требуется балансировка.

«UNITS 11-15» - «РАЗДЕЛЫ 11-15»

I).

«MATCH THE WORDS (1-10) WITH THEIR DEFINITIONS (A-J)» -

«СОПОСТАВЬТЕ СЛОВА (1-10) С ИХ ОПРЕДЕЛЕНИЯМИ (A-J)»

| 1. Stray voltage | A. is a statement that tells someone how much money will be charged for someone else to do a certain amount of work. |
| --- | --- |
| 2. An equipment grounding conductor | B. is a wire connected to the ground system. It is used to help form an electrically conductive path that allows an electrical current to flow uninterrupted. |
| 3. A surge arrester | C. is connected to the grounding system using rebar. It is a low-resistance ground. |
| 4. A clamp | D. is electrical energy flowing through something that it should not be flowing through, such as a lamp post. |
| 5. An estimate | E. is a conductor joining a piece of metal that does not conduct electricity to a grounding electrode conductor. |
| 6. Soil condition | F. is grounded and completes a circuit if a neutral wire fails. |
| 7. A ditch | G. is a piece of equipment which saves electrical systems from being negatively affected by lightning. |
| 8. A ground wire | H. is a tool used to grasp two wires in order to conduct electricity through them. |
| 9. A bonding wire | I. is a narrow trench that is made in the ground through digging. |
| 10. A footer | J. refers to the texture of the soil, such as dry, rocky, or wet. |

II).

«PUT A QUESTION TAG ON THE END OF THESE SENTENCES» -

«ПРОДОЛЖИТЕ «ХВОСТИКИ» РАЗДЕЛИТЕЛЬНЫХ ВОПРОСОВ»

1. I’m wiring my own switches for the first time, ... ...?

2. I know about single pole switches, ... ...?

3. You could also use a toggle switch, ... ...?

4. I installed a keyed switch for extra security, ... ...?

5. Our professional electricians are experts at grounding electrical systems, ... ...?

6. A grounding system protects your home from fault currents, stray voltage and ground faults,

... ...?

7. One of our electricians will come out to your property, ... ...?

8. You must be aware of resistance between terminals, ... ...?

9. Let’s move on to the next room, ... ...?

10. Don’t place flammable items close to wiring, ... ...?

III).

«MAKE UP SPECIAL QUESTIONS THE ANSWERS TO WHICH WILL BE WORDS IN ITALICS. THE WORDS IN BRACKETS WILL HELP YOU» – «СОСТАВЬТЕ СПЕЦИАЛЬНЫЕ ВОПРОСЫ, ОТВЕТАМИ НА КОТОРЫЕ БУДУТ ВЫДЕЛЕННЫЕ КУРСИВОМ СЛОВА. СЛОВА В СКОБКАХ ПОМОГУТ ВАМ»

1. I tried installing a pilot light switch last month. (When)

2. A grounding system protects your home from fault currents, stray voltage and ground faults.

(What)

3. A grounding system protects your home from fault currents, stray voltage and ground faults.

(What)

4. A panel bond is necessary to connect the grounding system to the electrical panel. (What)

5. A panel bond is necessary to connect the grounding system to the electrical panel. (What)

6. You must be aware of resistance between terminals. (What)

7. You must be aware of resistance between terminals. (What)

8. The winter months are the most dangerous for electrical fires. (What)

9. The winter months are the most dangerous for electrical fires. (What)

10. Electrical safety is an important part of fire prevention. (What)

IV).

«MAKE UP GENERAL GUESTIONS AND ANSWER THEM ACCORDING TO THE MODEL» - «СОСТАВЬТЕ ОБЩИЕ ВОПРОСЫ И ОТВЕТЬТЕ НА НИХ

В СООТВЕТСТВИИ С ОБРАЗЦОМ»

a) Model: One of our electricians will come out to your property.

Will one of our electricians come out to your property? – Yes, he /she will.

1. He or she will determine what size kit you need. 2. The electrician will also explain how a grounding system works. 3. If you have any questions, he or she will answer them. 4. A professional electrician will find anything that is likely to fail. 5. He or she will replace it with the correct equipment.

b) Model: A four-way switch would be a good choice.

Would a four-way switch be a good choice? – Yes, it would.

1. You would be able to install fixed wiring here too. 2. A dimmer switch would suit your needs. 3. The system would be for a residential property. 4.  A handy box would work. 5. Wednesday morning would be a good time for you to come by.

V).

«MIND THE WORD ORDER» - «ОБРАТИТЕ ВНИМАНИЕ НА ПОРЯДОК СЛОВ»

a)

«EXTEND THE FOLLOWING SENTENCES WITH THE WORDS GIVEN IN BRACKETS» - «РАСШИРЬТЕ СЛЕДУЮЩИЕ ПРЕДЛОЖЕНИЯ СЛОВАМИ, ДАННЫМИ В СКОБКАХ»

1. Dimmer switches are useful (where, light, levels, are, areas, of, in, different, desired). 2. (in, a, for, room, example, family), users may want more light for reading or playing games, (when, less, but, television, watching, light). 3. A three-way switch is useful (as, a, a, if, or, or, to, to, at, light, fixture, be, needs, locations, controlled, two, two, such, doorways, entrances, room). 4. (an, in, the, or, of, event, short, overcurrent, electrical), a breaker should trip and cut off the power supply. 5. (to, so, do, it, if, fails), it could get overheated and cause a fire.

b)

«WRITE THE WORDS IN THE FOLLOWING SENTENCES IN ORDER, THE FIRST WORD IN EACH SENTENCE IS IN ITALICS» - «НАПИШИТЕ СЛОВА В СЛЕДУЮЩИХ ПРЕДЛОЖЕНИЯХ ПО ПОРЯДКУ, ПЕРВОЕ СЛОВО В КАЖДОМ ПРЕДЛОЖЕНИИ ДАНО КУРСИВОМ»

1. Electrical, part, prevention, fire, of, an, is, safety, important. 2. Unused, within, of, covers, to, outlets, have, need, children, reach, safety, small. 3. These, from, or, kids, fingers, objects, outlets, putting, the, in, prevent. 4. Areas, lots, attention, need, with, extra, traffic, of. 5. Flammable, the, items, wires, risk, increase, near.

VI).

«TRANSLATE INTO ENGLISH» – «ПЕРЕВЕДИТЕ НА АНГЛИЙСКИЙ ЯЗЫК»

1. Электробезопасность - важная часть предотвращения пожара. 2. Неиспользуемые штепсельные розетки, доступные маленьким детям, должны иметь защитные крышки. 3. Эти крышки мешают детям помещать пальцы или предметы в розетки. 4. Области с большим движением требуют дополнительного внимания. 5. Огнеопасные предметы вблизи проводов увеличивают риск. 6. Диммерные переключатели полезны в областях, где желательны различные уровни освещения. 7. В семейной комнате, например, пользователи могут захотеть больше света для чтения или игры, но меньше света при просмотре телевизора. 8. Трёхходовой переключатель полезен, если свет или приспособление нужно контролировать в двух местах, например, в двух дверных проемах или входах в комнату. 9. В случае короткого замыкания или перегрузки по току выключатель должен отключиться и отключить источник питания. 10. Если это ему не удастся, он может перегреться и вызвать пожар. 11. Зимние месяцы - наиболее опасны для электрических пожаров. 12. Люди больше находятся в помещении, что означает увеличение использования электричества. 13. В зимний сезон люди больше используют свои обогреватели, светильники и приборы. 14. Однако, электрические пожары могут быть предотвращены. 15. Как электрик, Вы должны принять следующие меры предосторожности:

- Всегда оценивайте все провода;

- Если возможно, установите фиксированную проводку;

- Замените все лампочки, которые мерцают.

«ANSWERS» - «ОТВЕТЫ»

«UNITS 1-5» - «РАЗДЕЛЫ 1-5»

I).

1.-C.; 2.-J.; 3.-I.; 4.-A.; 5.-H.; 6.-B.; 7.-D.; 8.-F.; 9.-E.; 10.-G.

II).

1. don’t we   2. aren’t I   3. won’t I   4. aren’t they   5. are they   6. does it     7. shouldn’t you

8. doesn’t it   9. isn’t it   10. mustn’t it

III)

- When are insulation displacement connectors available?

- What do we have split bolt connectors for? OR: For what do we have split bolt connectors?

- What do I have?

- For what type of job do I have the know-how?

OR: What type of job do I have the know-how for?

5. What homes can I use grounded connectors for?

OR: For what homes can I use grounded connectors?

6. What connectors can I use for homes with complicated building codes?

7. Why are moisture tight fittings especially made?

8. What do aerial service entrances require a drip loop for?

OR: For what do aerial service entrances require a drip loop?

9. What service are a utility transformer and a service lateral required for?

OR: For what service are a utility transformer and a service lateral required?

10. What does today’s increased use of high-powered appliances and gadgets mean?

IV).

a)

1. Do you need to connect wires to other wires? – Yes, you do.

2. Do we have terminal block connectors, plug and socket connectors, and clamp connectors?

– Yes, we do.

3. Do we have any other items for more specific types of connectors? – Yes, we do.

4. Do many of my conduits have protection against corrosion, fire, or water issues?

– Yes, they do.

5. Do I also have a variety of non-corrosive conduits? – Yes, I do.

b)

1. Does electrical metallic tubing work well most of the time? – Yes, it does.

2. Does the building have any exposure to moisture and possibly any chemicals?

– Yes, it does.

3. Does a buried service entrance mean service cables are underground? – Yes, it does.

4. Does a buried service go under the ground? – Yes, it does.

5. Does it cost more to install a buried service because more work is required? – Yes, it does.

V).

a)

1. I would prefer the buried service entrance because its cables are hidden underground, even though it costs more than the aerial service entrance. 2. With higher demands for electricity, electricians must be ready to install higher-capacity systems. 3. A subpanel is often useful when there is a remote structure set apart from the main building. 4. Having a subpanel for these structures is advisable as it gives owners better control over how electricity is distributed. 5. Additionally, it is important to remember that a subpanel does not have its own electrical capacity, but rather shares its electricity with the main panel.

b)

1. Electrical wires are not sturdy, and they can easily be damaged. 2. External forces such as water, fire, and chemical exposure can be harmful to wires. 3. Conduits provide a barrier to protect wires from these hazards. 4. Different types of conduits serve different purposes. 5. Areas prone to moisture require moisture tight fittings to keep water away from electrical wires.

VI).

1. Are you looking to connect wires to equipment? 2. We have many connectors to serve your needs. 3. I am a highly qualified electrician. 4. I will give recommendations based on your needs. 5. If you’re not happy with my work, I’ll give you your money back! 6. Electricians must be ready to install higher-capacity systems. 7. When choosing electrical components, parts with high capacity are nearly always better. 8. If you can install a circuit with higher amperage, then go ahead. 9. Having higher capacity than you need poses no dangers. 10. If the capacity is too low, however, you risk overcurrent, which can lead to fire or electric shock. 11. Electrical wires are not sturdy, and they can easily be damaged. 12. External forces such as water, fire, and chemical exposure can be harmful to wires. 13. Conduits provide a barrier to protect wires from these hazards. 14. Different types of conduits serve different purposes. 15. Areas prone to moisture require moisture tight fittings to keep water away from electrical wires.

«UNITS 6-10» - «РАЗДЕЛЫ 6-10»

I).

1.-G.; 2.-E.; 3.-A.; 4.-H.; 5.-B.; 6.-I.; 7.-C.; 8.-D.; 9.-J.; 10.-F.

II).

1. can’t it   2. don’t they  3. mustn’t you    4. shouldn’t you    5. mayn’t you /shan’t you

6. aren’t they  7. don’t they  8. doesn’t it       9. can’t it  10. wasn’t it

III).

1. What usage are handy boxes unreliable for? OR: For what usage are handy boxes unreliable?

2. What boxes are unreliable for long-term usage?

3. What does the box need to have to be safe?

4. What needs to have the right volume to be safe?

5. How deep does the box need to be?

6. What needs to be deep enough to comfortably hold all the wires?

7. What has a grounding pin?

8. What does the plug have?

9. What pin does the plug have?

10. Why do we recommend using plastic boxes?

IV).

a)

1. Can installing your own electrical system be tricky? – Yes, it can.

2. Can a shallow box overcrowd the wires? – Yes, it can.

3. Can overcrowded wires short out easily? -  Yes, they can.

4. Can using an improper or damaged outlet be very dangerous? – Yes, it can.

5. Can single gang boxes be installed easily in narrow frames beside doors? – Yes, they can.

b)

1. Must you transfer any of the load to the corresponding breaker on the lower side to achieve

parity? – Yes, you must.

2. Must an outside box, for example, be waterproof? – Yes, it must.

3. Must an electrician always check this when mounting a box outside? – Yes, he /she must.

4. Must an electrician first add up the amperage of the appliances on each side of the panel?

- Yes, he /she must.

5. Must the grounding pin be connected directly to a grounding slot? – Yes, it must.

V).

a)

1. For a typical room with one light, a single gang box will do. 2. This is the easiest box to install in a narrow space beside a door. 3. To control two switches from the same place, use a two gang box. 4. A room with a light and a ceiling fan might require two switches. 5. For more switches, three gang boxes and four gang boxes are available.

b)

1. But make sure you have enough room for larger boxes before attempting installation. 2. Larger boxes may also require additional brackets to ensure they are mounted securely. 3. Your box should be positioned so that the coverplate is flush with the wall. 4. If this is not possible, use a box extender to seal the wall cavity. 5. This safety measure prevents flammable materials from coming in contact with the electricity.

VI).

1. Electrical overload can result from various factors, such as a short circuit from a ground fault. 2. Your fuses or circuit breakers protect your system from these excessive currents. 3. If your fuse is encased in a tube with metal end caps, check out our cartridge fuses. 4. If you can unscrew the fuse from its socket, you need a plug fuse. 5. All blown fuses must be replaced since they cannot be reused. 6. Unlike fuses, circuit breakers do not need replacement every time they are tripped. 7. But broken or worn out breakers occasionally require replacement. 8. Installing your own electrical system can be tricky. 9. While circuit breakers stop overload from harming your system, it is best to avoid overload in the first place. 10. To maintain stability, you must balance your electrical load. 11. This will prevent too much electricity from flowing through a single circuit at one time. 12. First, you should analyze your electrical consumption. 13. Are you using more electricity on one side of your main panel than the other? 14. To check this, add up how much power each side draws. 15. If one side’s amperage is more than ten percent greater than the other, balancing is required.

«UNITS 11-15» - «РАЗДЕЛЫ 11-15»

I).

1.-D.; 2.-E.; 3.-G.; 4.-H.; 5.-A.; 6.-J.; 7.-I.; 8.-F.; 9.-B.; 10.-C.

II).

1. aren’t I    2. don’t I    3. couldn’t you   4. didn’t I   5. aren’t they   6. doesn’t it

7. won’t he /she       8.  mustn’t you         9. shall we        10. will you

III).

1. When did I try installing a pilot light switch?

2. What does a grounding system protect your home from?

OR: From what does a grounding system protect your home?

3. What protects your home from fault currents, stray voltage and ground faults?

4. What is necessary to connect the grounding system to the electrical panel?

5. What is a panel bond necessary to connect the grounding system to?

OR: To what is a panel bond necessary to connect the grounding system?

6. What must you be aware of resistance between?

OR: Between what must you be aware of resistance?

7. What must you be aware of? OR: Of what must you be aware?

8. What months are the most dangerous for electrical fires?

9. What are the winter months the most dangerous for?

OR: For what are the winter months the most dangerous?

10. What is electrical safety?

IV).

a)

1. Will he or she determine what size kit you need? – Yes, he /she will.

2. Will the electrician also explain how a grounding system works? – Yes, he /she will.

3. Will he or she answer them if you have any questions? - Yes, he /she will.

4. Will a professional electrician find anything that is likely to fail? - Yes, he /she will.

5. Will he or she replace it with the correct equipment? - Yes, he /she will.

b)

1. Would you be able to install fixed wiring here too? – Yes, I would.

2. Would a dimmer switch suit your needs? – Yes, it would.

3. Would the system be for a residential property? – Yes, it would.

4. Would a handy box work? – Yes, it would.

5. Would Wednesday morning be a good time for you to come by? – Yes, it would.

V).

a)

1. Dimmer switches are useful in areas where different levels of light are desired. 2. In a family room, for example, users may want more light for reading or playing games, but less light when watching television. 3. A three-way switch is useful if a light or fixture needs to be controlled at two locations, such as two doorways or entrances to a room. 4. In the event of an electrical short or overcurrent, a breaker should trip and cut off the power supply. 5. If it fails to do so, it could get overheated and cause a fire.

b)

1. Electrical safety is an important part of fire prevention. 2. Unused outlets within reach of small children need to have safety covers. 3. These prevent kids from putting fingers or objects in the outlets. 4. Areas with lots of traffic need extra attention. 5. Flammable items near wires increase the risk.

VI).

1. Electrical safety is an important part of fire prevention. 2. Unused outlets within reach of small children need to have safety covers. 3. These prevent kids from putting fingers or objects in the outlets. 4. Areas with lots of traffic need extra attention. 5. Flammable items near wires increase the risk. 6. Dimmer switches are useful in areas where different levels of light are desired. 7. In a family room, for example, users may want more light for reading or playing games, but less light when watching television. 8. A three-way switch is useful if a light or fixture needs to be controlled at two locations, such as two doorways or entrances to a room. 9. In the event of an electrical short or overcurrent, a breaker should trip and cut off the power supply. 10. If it fails to do so, it could get overheated and cause a fire. 11. The winter months are the most dangerous for electrical fires. 12. People are indoors more, which means an increase in electrical use. 13. People use their heaters, lights and appliances more during the winter season. 14. However, electrical fires can be prevented. 15. As an electrician, you must take the following appropriate precautions:

- Always evaluate all wires;

- If possible, install fixed wiring;

- Replace any light bulbs that flicker.